## Slide 1: AI for Small Businesses
Mohammad Esmalifalak, PhD

## Slide 2
1
Predictive Maintenance
in Data Centers

## Slide 3: Data Center Operation
IT Racks
Cooling unit
(CRAC)

## Slide 4: Data Center Operation
Condenser
Condenser
Compressor
Fan
Expansion
Valve
Evaporator
Tank
Server Rack
Air Handler
Pump
Fan

## Slide 5: Statistical Anomaly Detection
Anomaly detection:
S1 Normal Range
S2
x
S1 Normal Range
S2 Normal Range
S2
S1
S1 Normal Range
S1
x
x
Is this normal operation?

## Slide 6: Data Acquisition System
Current Transformer (CT)
Output can be + or –
Non invasive sensors
Analogue to Digital Converter (ADC)
Positive input signals
Vref: for resolution
Vdd: to supply ADC
Raspberry Pi
Store Data (Database)
Communicate data
Train predictive models (Based on past obs.)
Make prediction (for new data)

## Slide 7: Data Center Operation
Most of cooling system failures can be detected in electrical domain
Server draw more current with the cooling failure (their fan speed goes …)
Cooling system fails and
temperature goes up
Fan speed goes up for almost the same amount of IT load

## Slide 8: Data Center Operation
Data center starting
Pump Failure

## Slide 9: Unsupervised Learning
What if we don’t know the labels?

## Slide 10: Anomaly Detection
Distance based (Statistical):
Future
Historical

## Slide 11: Anomaly Detection
Isolation forest (tree based):
Anomaly Score,
Inliers: S → 0
Outliers: S → 1

## Slide 12: Kmeans-Evolution over time
First 100 samples
First 200 samples
First 300 samples
Evolution of clusters over time

## Slide 13
2
Sentiment Analysis

## Slide 14: Sentiment Analysis
Event A
Event B
Vs

## Slide 15: Sentiment Analysis
Nancy | What a great first day! Can’t wait for the networking event tonight! …
Andy | Does anyone knows when shuttles leave this morning ….
Sara | That last session wasn’t bad, but it could have used more participants
Nancy | What a great first day! Can’t wait for the networking event tonight! …
Andy | Does anyone knows when shuttles leave this morning ….
Sara | That last session wasn’t bad, but it could have used more participants
Corpus:
 | A | anyone |  | what | when
Nancy | 2 | 0 |  | 3 | 4
Andy | 0 | 5 |  | 1 | 0
Sara | 1 | 0 |  | 0 | 1
 | A | anyone |  | what | when
Nancy | 2 | 0 |  | 3 | 4
Andy | 0 | 5 |  | 1 | 0
Sara | 1 | 0 |  | 0 | 1
Document term matrix:
~7000 common words

## Slide 16: Sentiment Analysis
Q: Sentiment analysis input:
Corpus or document term matrix?
A: Corpus because order matters! (Exercise is good but smoking is not good)

## Slide 17: TextBlob Sentiment
from textblob import TextBlob
TextBlob(“I love biking”).sentiment
Sentiment(polarity=0.5, subjectivity=0.6)
-1 Polarity 1
0 Subjectivity 1
Negative Positive
Objective (Fact) Subjective (Opinion)
Notes: https://github.com/sloria/TextBlob/blob/eb08c120d364e908646731d60b4e4c6c1712ff63/textblob/en/en-sentiment.xml

## Slide 18: Under The Hood

## Slide 19: Sentiment Analysis
<word form="great" wordnet_id="a-01278818" pos="JJ" sense="of major significance or importance" polarity="1.0" subjectivity="1.0" intensity="1.0" confidence="0.9" />
<word form="great" cornetto_synset_id="n_a-525317" wordnet_id="a-01123879" pos="JJ" sense="very good" polarity="1.0" subjectivity="1.0" intensity="1.0" confidence="0.9" />
<word form="great" wordnet_id="a-01386883" pos="JJ" sense="relatively large in size or number or extent" polarity="0.4" subjectivity="0.2" intensity="1.0" confidence="0.9" />
<word form="great" wordnet_id="a-01677433" pos="JJ" sense="remarkable or out of the ordinary in degree or magnitude or effect" polarity="0.8" subjectivity="0.8" intensity="1.0" confidence="0.9" />
https://github.com/sloria/TextBlob/blob/eb08c120d364e908646731d60b4e4c6c1712ff63/textblob/en/en-sentiment.xml
Polarity=(1+1+.4+.8)/4=0.8
TextBlob(“Great”).sentiment
Subjectivity=(1+1+.2+.8)/4=0.75

## Slide 20: Sentiment Analysis
Great |  | 
wordnet_id | Polarity | Subjectivity
a-01278818 | 1 | 1
a-01123879 | 1 | 1
a-01386883 | 0.4 | 0.2
a-01677433 | 0.8 | 0.8
Average | 0.8 | 0.75
Chicken |  | 
wordnet_id | Polarity | Subjectivity
a-00265314 | -0.5 | 0.9
a-00265314 | -0.7 | 1
Average | -0.6 | 0.95
TextBlob(“Great chicken”).sentiment
Polarity=(0.8-0.6)/2=0.1
Subjectivity=(0.75+0.95)/2=0.85

## Slide 21: Sentiment Analysis
Great |  | 
wordnet_id | Polarity | Subjectivity
a-01278818 | 1 | 1
a-01123879 | 1 | 1
a-01386883 | 0.4 | 0.2
a-01677433 | 0.8 | 0.8
Average | 0.8 | 0.75
Chicken |  | 
wordnet_id | Polarity | Subjectivity
a-00265314 | -0.5 | 0.9
a-00265314 | -0.7 | 1
Average | -0.6 | 0.95
Polarity=(0.8-0.6x(-0.5))/2=0.55
Subjectivity=(0.75+0.95)/2=0.85
TextBlob(“Not Great chicken”).sentiment
TextBlob(“Great Not chicken”).sentiment
Polarity=(0.8x(-0.5)-0.6)/2=-0.5
Subjectivity=(0.75+0.95)/2=0.85
Not + …
Polarity x (-0.5)
Subjectivity x 1

## Slide 22: Sentiment Analysis
Great |  | 
wordnet_id | Polarity | Subjectivity
a-01278818 | 1 | 1
a-01123879 | 1 | 1
a-01386883 | 0.4 | 0.2
a-01677433 | 0.8 | 0.8
Average | 0.8 | 0.75
Chicken |  | 
wordnet_id | Polarity | Subjectivity
a-00265314 | -0.5 | 0.9
a-00265314 | -0.7 | 1
Average | -0.6 | 0.95
Polarity=(0.8-0.6x1.3)/2=0.01
Subjectivity=(0.75+0.95x1.3)/2=0.875
TextBlob(“Very Great chicken”).sentiment
TextBlob(“Great very chicken”).sentiment
Polarity=(0.8x1.3 - 0.6)/2= 0.2
Subjectivity=(0.75x1.3+0.95)/2= 0.9625
Very + …
Polarity x 1.3
Subjectivity x 1.3
Max=1
Max=1

## Slide 23: Stock Market Prediction

## Slide 24: Yahoo Finance + Reddit Dataset
Reddit
Dow Jones Industrial Average (DJIA)

## Slide 25: Corpus or Document Term Matrix
[Ref] Sun, J. (2016, August). Daily News for Stock Market Prediction, Version 1. https://www.kaggle.com/aaron7sun/stocknews.
Daily top 25 headlines from Reddit
Daily records from:
2008-08-08 to 2016-07-01
Label 1: if the DJIA stayed the same or rose
Label 0: if the DJIA fell that day

## Slide 26
Mohammad Esmalifalak, PhD
Love to share my experiences!
www.linkedin.com/in/mesmalif